## Slide 1: Monitoring: 2010 Edition
James Jarvis
APRS World, LLC
www.aprsworld.com
Site Assessment
Turbine Testing
Deployment
Incentives
Outline for presentation:

## Slide 2: Site Assessment

## Slide 3: Site Assessment (is not happening)
Hardware available and more cost effective than ever
Why not?
  Still expensive
  Delays sales process
  Not required for incentives

## Slide 4: Site Assessment (is happening)
Large wind
  Still seeing MET towers at wind farms under construction
Educational
New installers & new geography

## Slide 5: Turbine Testing
(It is HORIZONTAL AXIS!)

## Slide 6: Sales (are happening)
(responsible) industry is pushing towards verified and performing turbines
  Small Wind Certification Council (SWCC) requiring testing to AWEA standards

## Slide 7: Manufacturer Testing (pre SWCC)
Excellent
  Test with lab to IEC 61400-12 standards
Very expensive for small wind
Many $$$ of labor and equipment
Accredited laboratory required
Hundreds of pages and thousands of dollars for the standards

## Slide 8: National Renewable Energy Lab
Has developed techniques for IEC testing, but does not want to provide it as a commercial service

## Slide 9: Manufacturer Testing (pre SWCC)
Good
  Data and test driven design
  Extensive field testing with manufacturer or customer supplied monitoring

## Slide 10: Manufacturer Testing (pre SWCC)
Bad, but better than nothing
  KWH meters on turbine output
  No wind data

## Slide 11: Manufacturer Testing (pre SWCC)
UGLY
  Ship it and let the customer see if it works
(end user spent thousands to monitor their turbines that have produced $0)

## Slide 12: Small Wind Certification Council
Data driven testing process
Designed and relatively affordable for small wind
Testing of:
  Power Performance
  Acoustic
  Duration
Design Verification of:
  Safety and function
  Structure

## Slide 13: AWEA / SWCC Testing (continued)
Power performance
  Power, voltage, current versus standardized wind conditions
Acoustic
  Rated sound level, changes in sound
Duration
  Vibration, hours of operation, hours of power production, turbulence, power degradation

## Slide 14: Manufacturer Testing Requirements (for SWCC / AWEA)
Characterized test site with full range of wind conditions
Calibrated equipment
Documented processes
Accredited laboratory and/or review by SWCC for proper operation and correct data

## Slide 15: Deployment

## Slide 16: Remote Monitoring from the turbine manufacturers
Picking on our conference sponsors:
Everyone else: ???
 | Bergey | Xzeres | SWWP | Endurance | WTI | Fortis
Mentioned On MFG web: | No | No | Barely | Yes! | No (just announced) | Barely
Availability: | Partner | Inverter Supplier | No | Direct | Direct | Inverter Supplier
Price (MSRP): | $650 | $600 |  | $0 | ? | $600
Anemometer: | + $$$ | + $$$ | No | $0 | ? | + $$$
Web Monitoring: | Yes Automatic | $$$ + hardware + configuration | No | Yes | Yes Automatic | $$$ + hardware + configuration

## Slide 17: Manufacturer Examples
Xzeres and Fortis using
SMA inverters using SUNNY WEBBOX:
Bergey:
WTI and Endurance:
???

## Slide 18: Remote Monitoring from third parties
Pros
Cons
Available for anything
Accurate (for $$$)
Flexible
May be customizable
Expensive
Time consuming to install
Complex
May not be reliable
Often custom
Lead time

## Slide 19: Third Party Examples

## Slide 20: Incentives
Map from DSIREusa.org

## Slide 21: State Incentives
Site assessment monitoring typically not required
Some incentives require performance monitoring
Little or no production incentives
From DSIRE (June 2010):

## Slide 22: Incentive Performance Monitoring
Many states with small wind incentives require wind speed and production data hardware to be installed
  Collection of data is often sporadic and not well defined
Massachusetts Clean Energy Center incentives require:
  Two anemometers and a wind vane
  Temperature
  Power measurement
  And prefer automatic reporting of 1 minute or faster data

## Slide 23: Production Incentives
Question: Why no production incentives?

## Slide 24: My Thoughts
Industry is maturing and is certifying turbines
Let’s make sure they stay working in the field
Let’s incentivize those that do work